## Slide 1: Key Changes in Management Centered Standards
Dr. Badari Datta

## Slide 2: Section II: Management Centered Standards
 | 3rd edition | 4th edition
Continual Quality Improvement (CQI) | 8/57 | 9/59

## Slide 3: Innovation
The quality improvement programme promotes and demonstrates use of innovations to improve process efficiency and effectiveness.
  Meaningful changes
  Intelligent risks
  Minimal input to recieve maximum output

## Slide 4: Improve KAP of Nursing care
Quality of Nursing care through audits
  Injection practises
  Medication administration
  Awareness about HIC
  High risk medince management
  Restraints

## Slide 5: New indicators
Intra-operative change(s) in the surgical plan are captured.
In addition to capturing Ventilator Associated Pneumonia (VAP), hospital should make efforts to monitor Ventilator Associated Events. For definition of VAE, refer to glossary/CDC guidelines.

## Slide 6: New indicators for PSG
Effectiveness of Handing over
Incidence of patient identification errors
Compliance to Hand Hygiene practice
Compliance to Medication prescription in Captitals

## Slide 7: Minimum of 4 NEW patient care focussed indicators and 4 Process related indicators
Door to Needle time
Time for 1st dose of Antibiotics in case of Septic shock
Caesarian rate
Pain management
TAT for dispensing
Billing errors
Non-availability of Consultants on Call
Timely replacing of Fire extinguishers

## Slide 8: DEMING’s Cycle
There is a mechanism for validation and analysis of quality indicators to facilitate quality improvement.( New standard)
  Collection
  Validation
  Analysis using appropriate method
  Implementation
  Reevaluation following Implementation
  Communication to stakeholders

## Slide 9: “Bottleneck” is in the top
The organization and departmental leaders are aware of the quality improvement program, its intent and applicability to the respective areas and how it contributes to the organization as a whole.

## Slide 10: Let us learn from “other’s mistake”
The organization shall have a process for informing various stakeholders in case of a near miss / adverse event.

## Slide 11: Section II: Management Centered Standards
 | 3rd edition | 4th edition
Responsibilities of Management (ROM) | 6/38 | 6/39
National Accreditation Board for Hospitals and Health Care Providers

## Slide 12: NABH is not a “Regulatory body”
The management is conversant with the applicable laws and regulations and undertakes the responsibility to adhere to the same.
Interpretation: The management of the hospital is conversant with the different statutory requirements as per the scope of services and ensures to adhere to the same. The hospital conducts its functioning as a duly permitted legal entity in accordance with the relevant registering authority(s). The Head of the hospital gives an undertaking in a standardised format that he/she is conversant with the applicable laws and regulations and has adhered to the same.

## Slide 13: But No compromise on “Patient or employee safety”
The management ensures that the policies and procedures pertaining to patient care are in compliance with the prevailing laws, regulations and notifications.
Interpretation: These include implementation and adherence to the requirements related to Biomedical waste management rules, AERB requirements, PCPNDT Act , MTP Act, Drug And Cosmetic Act and Narcotics Drugs and Psychotropic Substances Act, Blood bank requirements and Transplantation of Human Organs and Tissues Rules, Code of Medical Ethics, etc.
Examples of notifications: guidelines and protocols for medico legal care of victims/survivors of Sexual Violence. (MoHFW)

## Slide 14: Other major changes in ROM
Reports of quality and safety committee are shared by management: funds and resources for CAPA
Awareness of National Public Health Programs and supports the same
Strategic and operational plans are based on risk management, patient safety goals, facility rounds etc.

## Slide 15: Section II: Management Centered Standards
 | 3rd edition | 4th edition
Facility Management and Safety (FMS) | 8/54 | 7/56
National Accreditation Board for Hospitals and Health Care Providers

## Slide 16: Let us keep it… “May be someday we may need”
Organisation shall condemn and dispose in a systematic manner the material which is not in usage such as non-functioning items, excess unwanted material, general waste, scrap material etc.

## Slide 17: This is the era of danger from “Human beings”
Interpretation: There is a process and means to identify staff, visitors, vendors in the hospital. Access to different areas in the hospital by staff, visitors and vendors is controlled as per the organisation’s policy.

## Slide 18: Everything needs maintainance
Maintainance plan for
  Walls
  Nursing stations
  Furniture etc.
According to manufacturing guidelines, infection control

## Slide 19: Reduce, Recycle and Reuse
The organisation takes initiatives towards an energy efficient and environmental friendly hospital.

## Slide 20: Measure the “Measurer”
Utility equipment are periodically inspected and calibrated (wherever applicable) for their proper functioning.
Interpretation: For example, pressure gauges of steam steriliser, temperature gauges of medication refrigerators. The organisation either calibrates the utility equipment in-house or outsources, maintaining traceability to national or international or manufacturer's guidelines/standards.

## Slide 21: Let us maintain the “Neural network”
There is a maintenance plan for Information technology & communication network.
Interpretation: This shall include Data Server units, telephone exchange units, computers, telephone lines, nurse call system etc. This shall adhere to manufacturer’s recommendations, regular inspections etc. This includes timely repair of telephone, printer unit.

## Slide 22: Even equipments are recalled..not just cars
The procedures addresses medical equipment recalls.
  Awareness
  Planning
  Recalling
  SOP

## Slide 23: TAT for Equipment breakdown response
Breakdown
First response
Repair
Validation by user

## Slide 24: Section II: Management Centered Standards
 | 3rd edition | 4th edition
Human Resource Management (HRM) | 10/52 | 10/53
National Accreditation Board for Hospitals and Health Care Providers

## Slide 25: Training effectiveness
Training
  Pre test
  Post test
  Traceability of training records in the personal file
Feedback about training
  Content
  Subject
  Trainer
  arrangements

## Slide 26: Even employees deserve confidentiality
Who can access
SOP to access
Who can access classified information

## Slide 27: Section II: Management Centered Standards
 | 3rd edition | 4th edition
Information Management System (IMS) | 7/43 | 7/45
National Accreditation Board for Hospitals and Health Care Providers

## Slide 28: Telemedicine
Documented policies and procedures guide the use of Telemedicine facility in a safe and secure manner.
  SOP
  Storage and Retrieval of data
  Focus on Patient identification, process, confidentiality, Limitations

## Slide 29: The organization has an effective process for document control.
Current and updated
Reviewed, approved and released by authorised personnel
Regular updation
Identified
Removal of obsolete documents
Retention policy

## Slide 30: “Do PT for this pt after PT is over”
The organisation has a documented policy for usage of abbreviations and develops a list based on accepted practices.
  ISMP list of accepted abbreviations for prescriptions
  Other accepted abbreviations

## Slide 31: In case of “Nervous Breakdown”
There shall be a contingency plan in place to ensure continuity in providing information needs when the electronic hospital information system is experiencing a downtime.

## Slide 32: Management centric standards are still planets. “Patient is the Sun”
Thank you